TENDER SPECIFICATIONS

This unit is mounted on an anodized aluminum rigid structure, with panels of painted steel.

This unit has wheels for its mobility.

Main metallic elements of stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

Packed column:

It consists of a glass cylindrical column of 1400 mm of height and 75 mm of internal diameter.

It is filled with Raschig rings of 10 mm diameter.

It includes glass ends for inlet and outlet of gases and liquids and for sample point.

Liquid circuit (water):

A PVC glass storage tank (40  l. capacity).

A centrifugal pump (maximum flow rate: 540  l./h.).

The liquid flow that arrives at each moment to the column is measured with a flowmeter.

A glass diffusion shower.

PVC conduit for the effluent liquid with a control flow valve and one sampler.

Gas circuit (air and CO2):

Compressor (blower) provides a maximum flow of 6 m3/h and a maximum pressure of 1bar.

The gas (CO2 or ammonia) is supplied by a cylinder, type bottle. (Not supplied with the unit).

Mixing system for the 2 gases streams.

Both gas flows are measured by 2 flowmeters installed in the panel.

2 Control flow valves.

Instrumentation for the analytical measurement of CO2:

A glass syringe of 100 ml capacity, dedicated to extract the specific quantities of a sample to be analysed.

Two glass tanks located at different heights and interconnected. They contain an aqueous solution of KOH, in which the contained CO2 will be absorbed in the sample of gas to analyze.

3 Way-valves to direct the gaseous currents during the analysis process.

There are transparent elements allowing a better visualization of the process.

Electrical console, with:

Lamp. Automatic differential (RCB). Compressor switch. Pump switch.

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 1000 x 740 x 2600 mm. approx. (39.37 x 29.13 x 102.3 inches approx.).     Weight: 100 Kg. approx. (220 pounds approx.).

Optional accessory:

CAG/M: Manual meter to measure the concentration of CO2 in a gaseous current directly.

EXERCISES AND PRACTICAL POSSIBILITIES

1.-	Study of the basic principles of the absorption of a gas into a liquid using a packed column.

2.-	Gas stream analysis.

3.-	Study of the hydrodynamic characteristics of a packed column.

4.-	Determination of the drag and flooding flows.

5.-	Determination of the mass transfer coefficient.

6.-	Checking of the mass balances.

7.-	Demonstration of methods of gas and liquid quantitative analysis.

8.-	Investigations of the variables influencing the effectiveness of the absorption.

Additional practical possibilities:

9.-	Determination of the water, CO2 and air flow.

10.-Head loss in the column.

11.-Measurement of the CO2 concentration in gaseous currents using a CO2 meter (with the optional accessory CAG/M).