The Electrical Machines Unit (EME) is a compact and robust box for the study of the main electrical functions. In its front side, you find standard electrical functions, divided in sections, for a better visualization of the different applications.

In EME, you have all the main panels you need for analyzing an electrical machine, as measuring devices, supply systems, management systems, protection systems, synchronism and rectification systems, etc.

This unit is prepared for working to a maximum power of 1 KW and all the components are located within a compact box.

TENDER SPECIFICATIONS

Metallic box.

Diagram in the front panel.

Different modules included in the EME unit:

-Connection terminals module:

Connection terminals of three-phase: R, S and T and supply neutral with the corresponding signaling lamps which indicate the voltage.

There are 4 terminals in each phase.

Signaling lamp which will light up when the three-phase sequence in correct.

This module also has a signaling lamp and fuse, corresponding to the internal supply of the unit.

Two 24 Vac terminals.

-Operation module:

3 Running switches.

3 Stop switches.

3 Three-pole contactors, power A, B and C, with control circuit in alternating current. Each contactor has 2 auxiliary terminals (NC) and 3 auxiliary terminals (NO).

3 Lamps that will light when the contactors are started.

2 Timing relays.

Indicating lamps.

-Protection module:

Thermal Magnetic Circuit Breaker.

Thermal relay.

3 Power contacts.

2 Auxiliary contacts (NO and NC).

Signaling lamp.

-Synchronizing and rectification module:

3 lamps, as well as the inlet terminals for the three-phases with signaling for indicating its correct sequence.

Single-phase bridge rectifier, with 2 fuses with their corresponding fusion lamps.

-Contactors module:

3 Power takes, and the selected position closes the corresponding contact in the three phases.

-Possibility of assemblies of control circuits with delay.

*Minimum recommended measurement units:

2 Digital Multimeters.

Recommended measurement unit:

EAL. Network Analyzer Unit.

Electrical supply required: Three-phase with neutral and ground, 380 V.

Dimensions: 490 x 450 x 470 mm. approx. Weight: 50 Kg. approx.

EXERCISES AND PRACTICAL POSSIBILITIES

Some Practical Possibilities of the Unit:

The D.C.Machine (with motors EMT1/2/3/4/5/15)

1.-	Preparation, regulation and inversion in a dynamo with independent excitation.

2.-	The dynamo characteristic curve without load.

3.-	Dynamos with series and shunt excitation.

4.-	Dynamo external characteristic curve.

5.-	Dynamo characteristic regulation curve.

6.-	Speed variation, inversion and stop of D.C. motor with independent excitation.

7.-	Speed-armature current characteristic curves in a D.C. motor with shunt or independent excitation.

8.-	Torque-current characteristic curve in a D.C. motor with shunt or independent excitation.

9.-	Torque-speed characteristic curve in a D.C. motor with shunt or independent excitation.

10.-	Speed-excitation current characteristic curves in a D.C. motor with independent or shunt excitation. Operation in constant power.

11.-	Speed control at constant torque.

12.-	Series D.C. motor: starting, speed variation, inversion and braking.

13.-	Speed-intensity characteristic curve in a D.C. motor with series excitation.

14.-	Torque-current characteristic curve in a D.C. motor with series excitation.

15.-	The D.C. motor with series excitation as universal motor.

The Synchronous Machine (with motor EMT6)

16.-	Starting, voltage and frequency regulation in a three-phase alternator.

17.-	Net coupling of a three-phase alternator.

18.-	Characteristic curve of an alternator without load.

19.-	Characteristic curve of an alternator in short circuit.

20.-	Characteristic curve of an alternator with load.

21.-	Synchronous motor starting.

The Asynchronous Machine (with motors EMT7/8/9/10/11/16/17)

22.-	Mordey´s diagrams.

23.-	Starting process of a three-phase asynchronous motor with rotor in short circuit.

24.-	Test without load of an asynchronous motor with rotor in short circuit.

25.-	Test with load of a three-phase asynchronous motor with rotor in short circuit.

26.-	Starting of a three-phase asynchronous motor with the wound rotor.

27.-	Test without load of a three-phase asynchronous motor with the wound rotor.

28.-	Test with load of a three-phase asynchronous motor with wound rotor.

29.-	Starting of a single-phase motor with capacitor.

30.-	Test without load of a single-phase asynchronous motor.

31.-	Test in load of the single-phase motor.

The Universal motor (with motor EMT12)

32.-	The Universal motor with D.C. supply.

33.-	Speed-current characteristic of an Universal motor with D.C. supply.

34.-	Torque-intensity characteristic in the D.C. Universal motor.

35.-	The universal motor with A.C. supply.

The Repulsion motor (with motor EMT14)

36.-	Starting and inversion of a single-phase repulsion motor.

37.-	Test of a single-phase repulsion motor without load.

38.-	Test of a single-phase asynchronous repulsion motor in A.C.

The Brushless motor (with motor EMT18)

39.-	Brushless motor starting.

40.-	Speed control and change of the turn sense.

The Dahlander motor (with motor EMT9)

41.-	Dahlander motor starting.

42.-	Different working speeds.

43.-	Changing the different speeds of Dahlander motor while working.

The Stepper motor (with motor EMT19)

44.-	Stepper motor starting.

45.-	Steps control.

46.-	Rotation sense change.

The Reluctance motor ( with motor EMT21)

47.-	Star connection of the reluctance motor.

48.-	Delta connection of the reluctance motor.

49.-	Revolution sense and inversion of rotation.