The EMLS has been designed to demonstrate the factors affecting mixing using visualization and measurement techniques as appropriate.

This unit allows the study of the agitation process in order to familiarize the student with the different magnitudes (torque, turning speed, etc) that take part in the process.

TENDER SPECIFICATIONS

Metallic frame and panels made of painted steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

Brake Dynamo Motor, with speed regulation:

Its purpose is to make the agitator turn at preset revolutions value.

Power: 0.37 kW. Power supply: single-phase AC at 220 V. Revolutions: from 0 to 3000 rpm.

Torque meter (load cell):

Its objective is to measure the torque established between the motor and the solution to be mixed.

Crowbar: 18.3 cm.

Force range: 0 to 39.2 N.

Vertical platform:

It allows to displace the brake dynamo motor vertically. It is operated by a steering wheel and displacement guided by lineal bearings.

Agitators holder:

It is the element that allows to install different types of agitators. They are coupled with clamps.

Agitators:

They are the elements in charge of the agitation of the fluid, and they can be of different shapes and sizes:

Paddle, diameter: 100 mm. and paddle, diameter: 50 mm.

Propeller, diameter: 100 mm. propeller, diameter: 50 mm.

Turbine, diameter: 100 mm. and turbine, diameter: 50 mm.

The propeller agitators are used for mixing with a viscosity superior to 2000 cp.

Tanks:

Their purpose is to contain the fluid that we will use in the experiment. They are cylindrical and are made of transparent material, to facilitate the observation of the stage of agitation in the fluid. They have removable covers to avoid spills and splashes of the fluid.

Tank of 300 mm diameter and 300 mm height, with deflectors

Tank of 300 mm diameter and 300 mm height, without deflectors.

Tank of 150 mm diameter and 300 mm height, with deflectors

Tank of 150 mm diameter and 300 mm height, without deflectors.

The capacity of the tanks is approximately 21 and 5  l.

Control panel:

ON/OFF motor switch, speed controller and speed display.

Torque display.

The unit includes wheels for mobility.

Cables and accessories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installations, Starting-up, Maintenance & Practices Manuals.

Dimensions: 700 x 910 x 1940 mm. approx. (27.56 x 35.83 x 76.38 inches approx.). Weight: 95 Kg. approx. (209.4 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-	Visualization of fluid fields.

2.-	Power required in the agitation process.

3.-	Suspensions of solid in liquids.

4.-	Formation of solids-liquids solutions.

5.-	Emulsion of immiscible liquids.

6.-	Mixing of miscible liquids.

7.-	Heating process of liquid mass.

8.-	Test with models at scale.

9.-	Quality of mixing / mixing time.

10.-Power speed of the different impellers.

11.-Demonstration of the different factors (deposits, deflectors, agitators...), that affect the mixing, using visualization techniques and appropriate measurement.