## TENDER SPECIFICATIONS

ERP-MA. Feeders Management Relay Module, for use with the Protection Relays Test Unit (ERP-UB), to enable investigations into protection and monitoring of overhead lines, underground cables and feeders.

It enables a wide range of test and investigations and it demonstrates the latest relay technology.

Modern and robust enclosure (steel box) with carrying handles.

Modern industrial application feeder management relay presented in an educational and teaching format.

The connections are via safety sockets.

The main functions:

Four levels of Phase Instantaneous Overcurrent Element (50P).

Four levels of Negative-Sequence Overcurrent Element (50Q).

Four levels of Residual Overcurrent Element (50G).

Four levels of Neutral Overcurrent Element (50G).

Two levels of Phase Time-Overcurrent Element (51P).

Two levels of Residual Time-Overcurrent Element (51G).

Two levels of Ground Time-Overcurrent Element (51G).

One level of Negative-Sequence Time-Overcurrent Element (51Q).

Phase to Ground Overvoltage (59G).

Phase to Phase Overvoltage (59P).

Negative-Sequence Overvoltage (59Q).

Residual Overvoltage (59G).

Phase to Ground Undervoltage (27G).

Phase to Phase Undervoltage (27P).

Six levels of Secure Overfrequency (81O).

Six levels of Secure Underfrequency (81U).

Two levels of Negative Power Flow with Definite Time Delay (32).

Two levels of Positive Power Flow with Definite Time Delay (32).

Station Battery Monitor.

Breaker Wear Monitoring.

Synchrophasor Protocol.

Peak Demand and Demand Metering.

Auto-Reclosing.

Creating fault and disturbance records.

The connection to the experimental circuit is via current transformers with ratio to suit the inputs of the relay.

It allows an effective demonstration of the effect of current and voltage transformer ratio, connection and rating on protective relays.

Accuracy: +- 10%.

Current: 5 A (A. C.).

Frequency: 50 or 60 Hz.

Operating time: typically 10 ms to 25 ms.

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals:  Required Services, Assembly and Installation, Starting-up, Safety, Maintenance, Practices and connection information.

*Dimensions: 490 x 330 x 310 mm. approx.  Weight: 10 Kg. approx.

EXERCISES AND PRACTICAL POSSIBILITIES

Some Exercises and Practical Possibilities of the Unit:

1.-	Verification of the Feeder Management Relay functionality.

2.-	Phase Overcurrent Element of the Feeder Management Relay.

3.-	Residual Ground Overcurrent Element of the Feeder Management Relay.

4.-	Overvoltage Element of the Feeder Management Relay.

5.-	Undervoltage Element of the Feeder Management Relay.

6.-	Verification of Phase Instantaneous Overcurrent Protection.

7.-	Verification of Phase Time-Overcurrent Protection.

8.-	Verification of Residual Overcurrent Element.

9.-	Verification of Residual Time-Overcurrent Element.

10.-	Verification of Neutral Overcurrent Element.

11.-	Verification of Overfrequency Protection Element.

12.-	Verification of Underfrequency Protection Element.

13.-	Verification of Positive (forward) Power Flow Protection Element.

14.-	Verification of Negative (reverse) Power Flow Protection Element.

15.-	Protection of Distribution Feeder Example.

16.-	Protection of Overhead Transmission Line Example.