## TENDER SPECIFICATIONS

For use with the Protection Relays Test Unit (ERP-UB), to enable investigations into protection and monitoring of overhead transmission lines and underground cables.

It enables a wide range of test and investigations and it demonstrates the latest relay technology.

Modern and robust enclosure (steel box) with carrying handles.

Modern industrial application distance protection relay presented in an educational and teaching format.

The connections are via safety sockets.

The main functions:

Two zones of Phase Mho Distance Protection Element (21P).

Two zones of Ground Mho Distance Protection Element (21G).

Directional Phase Overcurrent Protection Element (67P).

Directional Ground Overcurrent Protection Element (67G).

Phase Overcurrent Protection Element (50P).

Ground Overcurrent Protection Element (50G).

Phase Time-Overcurrent Protection Element (51P).

Ground Time-Overcurrent Protection Element (51G).

Event Reports.

Breaker Wear Monitor.

Fault Locator.

Local Display.

Synchronophasors.

Load Encroachment.

Metering and Monitoring Functions.

Creating fault and disturbance records.

Blocking of any one protection element.

The connection to the experimental circuit is via current transformers with ratio to suit the inputs of the relay.

It allows an effective demonstration of the effect of current and voltage transformer ratio, connection and rating on protective relays.

Accuracy: +- 10%.

Current: 5 A (A. C.). Frequency: 50 or 60 Hz. Operating time: typically 10 ms to 25 ms.

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with the following manuals:  Required Services, Assembly and Installation, Starting-up, Safety, Maintenance, Practices and connection information.

*Dimensions: 490 x 330 x 310 mm. approx.  Weight: 10 Kg. approx.

EXERCISES AND PRACTICAL POSSIBILITIES

Some Exercises and Practical Possibilities of the Unit:

1.-	Verification of Line Distance Protection functionality.

2.-	Line Distance Protection with different measurement circuit conditions.

3.-	Line Distance Protection with different Line Loads conditions.

4.-	Verification of Phase Instantaneous Overcurrent Element.

5.-	Verification of Ground Instantaneous Overcurrent Element.

6.-	Verification of Phase Time-Overcurrent Protection Element.

7.-	Verification of Ground Time-Overcurrent Protection Element.

8.-	Verification of Current Transformer Measurement accuracy.

9.-	Verification of Current Transformers Connection Diagram.

10.-	Verification of Voltage Transformers Measurement Accuracy and Connection Diagram for Distance Protection.

11.-	Overhead Transmission Line Parameters Estimation for Distance Protection.

12.-	Overhead Transmission Line Distance Protection.

13.-	Distance Protection Event Reports Analysis.

14.-	Distance Protection Relay Human Machine Interface.

15.-	Distance Protection Relay Configuration.

16.-	Distance Protection of Simple Power System Example.