## TENDER SPECIFICATIONS

ERP-SDND. Directional/Non Directional Overcurrent Protection Relay Module, for use with the Protection Relays Test Unit (ERP-UB), to enable investigations into protection and monitoring of generator and transformer schemes, overhead lines, underground cables and backup on high-voltage systems.

It enables a wide range of test and investigations and it demonstrates the latest relay technology.

Modern and robust enclosure (steel box) with carrying handles.

Modern industrial application directional/non directional overcurrent relay presented in an educational and teaching format.

The connections are via safety sockets.

The main functions:

The ERP-SDND Unit includes numerous phase, negative-sequence, residual-ground, and neutral overcurrent elements, as shown in the next table.

| Overcurrent Element Operating Quantity | Number of Elements | Directional Control | Torque Control | Definite-Time Delay |
| --- | --- | --- | --- | --- |
| Maximum phase current (IA, IB or IC) | 1 inverse-time (51P) 6 instantaneous (50P1-50P6) | Yes Yes, on first 4 | Yes Yes, on first 4 | NA Yes, on first 4 |
| Maximum phase-phase current (IA, IBC, or ICA) | 4 instantaneous (50PP1-50PP4) | No | No | No |
| Independent phase current | 3 inverse-time (51A,51B,51C) | Yes | Yes | NA |
| Residual-ground current (3I0) | 2 inverse-time (51G1,51G1) 6 instantaneous (50G1-50G6) | Yes Yes, on first 4 | Yes Yes, on first 4 | NA Yes, on first 4 |
| Negative-sequence current (3I2) | 1 inverse-time (51Q) 6 instantaneous (50Q1-50Q6) | Yes Yes, on first 4 | Yes Yes, on first 4 | NA Yes, on first 4 |
| Neutral current (IN) | 1 inverse-time (51N) 6 instantaneous (50N1-50N6) | Yes Yes, on first 4 | Yes Yes, on first 4 | NA Yes, on first 4 |

Inverse-time overcurrent element settings include a wide and continuous pickup current range, continuous time-dial setting range, and time-current curve choices from both US (IEEE) and IEC standard curves shown in the next table.

| IEEE | IEC |
| --- | --- |
| Moderately Inverse (U1) | Standard Inverse (C1) |
| Inverse (U2) | Very Inverse (C2) |
| Very Inverse (U3) | Extremely Inverse (C3) |
| Extremely Inverse (U4) | Long-Time Inverse (C4) |
| Short-Time Inverse (U5) | Short-Time Inverse (C5) |

Undervoltage Protection Element (27).

Phase Overvoltage Protection Element (59P).

Ground Overvoltage Protection Element (59G).

Negative Sequence Overvoltage Protection (59Q).

Creating fault and disturbance records.

Selectable blocking.

Selogic Control Equations.

Event Report.

Sequential Events Recorder (SER).

Breaker Wear Monitor.

Station Battery Monitor.

DNP3 Serial LAN/WAN Outstation (Slave).

Modbus RTU and TPC.

High-Accuracy Metering.

Remote and Local Control Switches.

Wye or Delta Voltage Connection.

Synchrophasor Measurements.

Fault Locator.

Fast SER Protocol.

Directional/Definite-Time Overcurrents Elements.

Two Residual-Ground Time-Overcurrents Elements.

Six Frequency Elements.

Sensitive Earth Fault Protection and Directional Protection for Various System Grounding Practices.

Load-Encroachment Logic.

Synchronism Check.

ACSELERATOR QuickSet Compatible.

The connection to the experimental circuit is via current transformers with ratio to suit the inputs of the relay.

It allows an effective demonstration of the effect of current and voltage transformer ratio, connection and rating on protective relays.

Accuracy: +- 10%.

Current: 5 A (A. C.).

Frequency: 50 or 60 Hz.

Operating time: typically 10 ms to 25 ms.

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals:  Required Services, Assembly and Installation, Starting-up, Safety, Maintenance, Practices and connection information.

*Dimensions: 490 x 330 x 310 mm. approx.  Weight: 10 Kg. approx.

EXERCISES AND PRACTICAL POSSIBILITIES

Some Exercises and Practical Possibilities of the Unit:

1.-	Verification of Directional Protection functionality.

2.-	Directional Protection with different measurement circuit conditions.

3.-	Directional Protection application to Transmission Line under different load conditions.

4.-	Forward Directional Protection.

5.-	Reverse Directional Protection.

6.-	Non-Directional Overcurrent Protection.

7.-	Residual Ground Time-Overcurrent Protection.

8.-	Residual Ground Instantaneous Overcurrent Protection.

9.-	Verification of Cable Undervoltage Protection.

10.-	Verification of Cable Overvoltage Protection.

11.-	Verification of Current Transformers Measurements accuracy.

12.-	Verification of Voltage Transformers Measurements accuracy.

13.-	Distribution System Directional Protection.