TENDER SPECIFICATIONS

The sedimentation is a process widely used in the classification, water clarification and wastewater treatment.

This unit provides a facility for studying the basic physical procesess involved in sedimentation, which the applications cover fields like chemical engineering, or concentration, water treatment and other industrial processes.

This unit enables the practical demonstration of the particular features of the different systems selected for sedimentation.

It enables the simultaneous study of the behaviour of five different suspensions.

Bench-top unit.

Anodized aluminium structure and panels in painted steel (epoxy paint).

Five sedimentation graduated cylinders of methacrylate (1m x 50 mm approx.) mounted vertically on a panel, illuminated from behind, and with the possibility of being removable for cleaning.

Light diffuser screen and two fluorescent lamps.

Stopwatch.

Three beakers of 2 litre capacity.

Specific gravity bottle.

Cables and Accesories, for normal operation.

Manuals: This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting- up, Safety, Maintenance & Practices Manuals.

Dimensions : 550 x 400 x 1300 mm. approx.   Weight: 35 Kg. approx.

EXERCISES AND PRACTICAL POSSIBILITIES

Some Practical Possibilities of the Unit:

1.-	Variation of the sedimentation characteristics with the concentration and suspension height.

2.-	Effect of initial concentration on sedimentation characteristics.

3.- 	Effect of initial suspension height on sedimentation characteristics.

4.- 	Construction of settling rate curves against concentration form a single batch test.

5.- 	Effect of particle size distribution.

6.- 	Identification of the different sedimentation regimes.

7.- 	Use of flocculating additives.

8.- 	Construction of settling rate curves.

9.- 	Visualization of the retarded sedimentation.

10.- 	Study of the differences between a clarifier and a classifier.

11.- 	Study and visualization of the differential sedimentation.

12.- 	Study of the methods of sinking and floating.