EDIBON's distillation unit is one of the most powerful laboratory tools, for the study of the variables that affect the distillation process. The student can investigate the principles that rule the material and energy transference, as well as determine optima operation point to carry out a big quantity of separations.

TENDER SPECIFICATIONS

Anodized aluminium structure.

Panels and main metallic elements in stainless steel.

Diagram in the front panel with similar distribution that the elements in the real unit.

Sieve Plates Column with 8 plates with temperature taking (sensor) and sample in every plate. 50 mm. internal diameter and 1000mm. length. Vacuumed, silver-plated and double transparent band for vision.

The column can work both continuously and discontinuously.

Column head with temperature taking, conical output for distilled product and ball refrigerator.

Column head with a valve for the steam distribution. The valve operates in an electromagnetic way.

2l. Boiler (with sample outputs) with heating mantle, with adjustable power (max. power: 500 watt.).

2l. Distillation collector of graduated glass.

Liebig-west coolant.

Feeding system in continuous with preheating (heating resistance) at the specified temperature and a pump that provides a maximum flow of 3.81 l/min.

Feed vessel, 10 l. capacity.

Adjustable vacuum pump that allows to decrease the atmospheric pressure to 0.8 bar.

Temperature measurement system. 12 Temperature sensors (”J” type).

Flow meter.

Manometer tubes.

Working temperature : ambient temperature up to 125ºC.

Solenoid valve.

Electronic Console:

Metallic box.

Temperature sensors connections. Digital display for temperature sensors. Selector for temperature sensors. Heating resistance (AR-1) controller. Pump switches. Solenoid valve timer controller. (Solenoid valve reflux time control).

Cables and accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance, & Practices Manuals.

Optional Columns (not included in the standard supply):

- CAR1.     Raschig Rings Column.

- C8P1.     8 Plates Type Column (1 Temperature point).

- C10P10. 10 Plates Type Column (10 Temperature points).

- C14P14. 14 Plates Type Column (14 Temperature points).

- C20P20. 20 Plates Type Column (20 Temperature points).

Dimensions (approx.)= Unit: 900 x 600 x 2800 mm. Weight: 200 Kg.   Electronic Console: 490 x 450 x 470 mm. Weight: 20 Kg.

EXERCISES AND PRACTICAL POSSIBILITIES

Some Practical Possibilities of the Unit:

1.-   Preparation of solutions.

2.-   Analytic valuation techniques.

3.-   Filling of the column.

4.-   Batch operation. Continuous operation.

5.-   Obtaining the McCabe-Thiele diagram. Without reflux.

6.-   Obtaining the number of plates. Without reflux.

7.-   Efficiency calculations. Without reflux.

8.-   Variation of the composition of the distilled product: constant reflux ratio.

9.-   Constant composition of the distilled product: variation of reflux ratio.

10.- Constant composition of the distilled product: constant reflux ratio.

11.- Continuos feeding of the column.

12.- Mass and energy balances across the system.

13.- Plates fluid dynamics studies, including load loss and column flooding.

14.- Study of the feed temperature effect on the continuos processes.

15.- Calculation of the theoretical number of floors in the plates columns,and the equivalent height of the theoretical floor ( HEPT) in the Raschig rings columns.

16.- Pursuit of the temperatures in all plates in the column (Plates columns).

17.- Study of the rectification efficiency at different pressures.

18.- Effect of feed pre-heat.

19.- Effect of feed position.

20.- Demonstration of azeotropic distillation.

21.- Studies of heating interchange in glass refrigerators.