TENDER SPECIFICATIONS

Anodized aluminum structure and panel of painted steel.

Main metallic elements in stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

Sieve Plates Column with 8 plates with one temperature taking and sample, 50 mm. internal diameter and 1000 mm. length. Vacuumed, silver-plated and double transparent band for vision.

Column head with temperature taking and conical output for distilled product.

Column head with a valve for the steam distribution.

2  l. Boiler (with sample outputs) with heating mantle.

2  l. Distillation collector of graduated glass.

Refrigerator.

Temperature measurement system.

7 Temperature sensors ”J” type.

Working temperature: ambient temperature up to 125°C.

Flow meter, range: 0.2 - 2  l./min.

Manometer tubes.

Solenoid valve.

Electronic console:

Metallic box.

Temperature sensors connections. Digital display for temperature sensors. Selector for temperature sensors.

Heating element (heating mantle) temperature control.

Solenoid valve switch.

Solenoid valve timer controller.(Solenoid valve reflux time control).

Cables and Accessories, for normal operation.

Manuals: This unit is supplied with following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: Unit: 900 x 600 x 2600 mm. approx. (35.43  x 23.62 x 102.36 inches approx.).     Weight: 170 Kg. approx. (375 pounds approx.).

Electronic console: 490 x 330 x 310 mm. approx. (19.29 x 12.99 x 12.20 inches approx.).     Weight: 12 Kg. approx. (26.45 pounds approx.).

Optional Columns ( not included in the standard supply):

-CAR1.	Raschig Rings Column.

-C8P8.	8 Plates Type Column (8 Temperature points).

-C10P10.	10 Plates Type Column (10 Temperature points).

-C14P14.	14 Plates Type Column (14 Temperature points).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-	Preparation of solutions.

2.-	Analytic valuation techniques.

3.-	Filling of the column.

4.-	Batch operation.

5.-	Obtaining the McCabe-Thiele diagram. Without reflux.

6.-	Obtaining the number of plates. Without reflux.

7.-	Efficiency calculations. Without reflux.

8.-	Variation of the composition of the distilled product: constant reflux ratio.

9.-	Constant composition of the distilled product: variation of reflux ratio.

10.-Constant composition of the distilled product: constant reflux ratio.

11.-Mass and energy balances across the system.

12.-Plates fluid dynamics studies, including load loss and column flooding.

13.-Calculation of the theoretical number of floors in the plates columns, and the equivalent height of the theoretical floor (HEPT) in the Raschig rings columns.

14.-Pursuit of the temperatures in all plates in the column (Plates columns).

15.-Study of the rectification efficiency.

16.-Demonstration of azeotropic distillation.

17.-Studies of heating interchange in glass refrigerators.