# TENDER SPECIFICATIONS

The EEICI unit for impact testing with the Charpy and the Izod pendulums is mounted on an aluminum structure that provides the device great rigidity. The aluminum structure is covered by a painted steel panel.

The unit consists of the following elements:

Pendulum: It is supported by bearings and has an length of 330 mm. On one of its ends we can mount the appropriate hammer for each test, be it Charpy or Izod.

Initial angle: 150º.

Charpy potential energy: 5 J, 7.5 J and 10 J.

Izod potential energy: 8.5 J.

Hammers:

The Charpy Hammer has the shape of a “C” and it is used for impact tests on specimens that are supported on both ends.

The Izod Hammer is used to impact on specimens that are fitted vertically.

Charpy clamp. It is composed with the accessories needed for supporting the specimens, according to Standard ISO 179.

Izod clamp. It is composed with the accessories needed for supporting the specimens, according to Standard ISO 180.

Allen keys in order to tighten the specimens into the clamps.

A graduated disc with a pointer will mark the energy used to break the specimen.

Specimens made in different plastic materials:

They have a notch in order to make their breaking easier.

They are made of PVC, PTFE and PMMA.

Their dimensions are 80 mm length and its cross section is 10 mm x 4 mm.

Support system for the pendulum at the starting point of the test.

Protection transparent cover that allows the safe viewing of the experiments by the student.

Manuals:	This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions: 1000 x 600 x 600 mm. approx. (39.37 x 23.62 x 23.62 inches approx.).     Weight: 70 Kg. approx. (154.32 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

Some Practical Possibilities of the Unit:

1.-	Experimental determination of the energy needed in order to break specimens of different materials using the Charpy method.

2.-	Experimental determination of the energy necessary to break specimens of different materials using the Izod method.

3.-	Experimental determination of the pendulum’s friction losses.

Optional:

## - EEICI/CAI. Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (EEICI/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

INS/SOF. Classroom Management Software (Instructor Software):

The Instructor can:

- Organize Students by Classes and Groups.

- Create easily new entries or delete them.

- Create data bases with student information.

- Analyze results and make statistical comparisons.

- Generate and print reports.

- Detect student’s progress and difficulties.

...and many other facilities.

This Software, working in network configuration, allows controlling all the students in the classroom.

EEICI/SOF. Computer Aided Instruction Software (Student Software):

It explains how to use the unit, run the experiments and what to do at any moment.

- This software contains:

Theory: gives the student the theoretical background for a total understanding of the studied subject.

Exercises: divided by thematic areas and chapters to check out that the theory has been understood.

Guided Practices: presents several practices to be done with the unit, showing how to perform the exercises and practices.

Exams: set of questions to test the obtained knowledge.

- EEICI/CAL. Computer Aided Learning Software (Results Calculation and Analysis):

This Computer Aided Learning Software (Results Calculation and Analysis) “CAL” is a Windows based software, simple and very easy to use, specifically developed by EDIBON.

CAL is a class assistant that helps in doing the necessary calculations to extract the right conclusions from data obtained during the experimental practices. With a single click, CAL computes the value of all the variables involved and performs the calculations.

Also, CAL allows to plot and print the results. Within the plotting options, any variable can be represented against any other.

Available different plotting displays.

It has a wide range of information, such as constant values, unit conversion factors and integral and derivative tables.