# TENDER SPECIFICATIONS

A- TECHNICAL DATA:

- M99 unit enables to carry out different practices related with basic electronics.

Modules included in M99 unit:

M99-1. Analog Multiplexer module:

This module allows us to select between two analog signals. There is a digital control signal for selecting the input signal.

-Two input signals.

-Input Voltage: ±10V max.

-TTL compatible control signal.

M99-2. Analog Multiplier module:

This module is an analog multiplier. There is also a potentiometer to control the gain of the multiplier.

-Two input signals.

-Input Voltage: ±10V max.

M99-3. Function Generator module:

This module allows us to generate three different signals types: sinusoidal, square and sawtooth. The frequency and amplitude of the signals can be adjusted using the potentiometers.

-Sine, square and sawtooth signals.

-Amplitude: ±10V.

-Frequency: 0Hz to 100Hz.

M99-4. AM modulator module:

This module allows us to generate an AM signal. The frequency of the carrier signal can be selected by using a potentiometer.

-AM-DSB modulator.

-Carrier frequency: 1000Hz max.

M99-5. AM demodulator module:

This module allows us to demodulate an AM signal. The demodulator is divided in different blocks: mixer, IF amplifier, envelope detector and audio filter. The frequency of the local oscillator generated for the tuning can be selected by using a potentiometer. All outputs of these blocks can be observed using the output terminals.

-Tuning circuit.

-IF amplifier (455Hz).

-Envelope detector.

-Audio signal filter.

DC source module:

- +/- 12Vdc.

- +/- 5Vdc.

Dimensions: 490 x 330 x 310 mm. approx. (19.3 x 13 x 12.2 inches approx.). Weight: 6 Kg. approx. (13.22 pounds approx.).

- C.A.I. Software System

B- COMPUTER AIDED INSTRUCTION (C.A.I.) SOFTWARE SYSTEM:

This complete software package consists on an Instructor Software (INS/SOF) totally integrated with the Student/Module Software (M../SOF):

- INS/SOF. Classroom Management Software (Instructor Software):

The instructor can:

- Organize Students by Classes and Groups.

- Create easily new entries or delete them.

- Create data bases with student information.

- Analyze results and make statistical comparisons.

- Generate and print reports.

- Detect student’s progress and difficulties.

...and many other facilities.

The Instructor Software is the same for all the modules, and working in network configuration allows controlling all the students in the classroom.

IMPORTANT: Only one Software is needed per classroom.

- M../SOF. Computer Aided Instruction Softwares (Student/Module Software):

- It explains how to use the module, run the experiments and what to do at any moment.

- Each module has its own Student Software.

- The options are presented by pull-down menus and pop-up windows.

- Each Software contains:

Theory: gives the student the theoretical background for a total understanding of the studied subject.

Exercises: divided by thematic areas and chapters to check out that the theory has been understood.

Guided Practices: presents several practices to be done with the module, showing how to perform the exercises and practices.

Exams: set of questions to test the obtained knowledge.

- LIEBA/CAL. Software

C- COMPUTER AIDED LEARNING SOFTWARE (RESULTS CALCULATION AND ANALYSIS):

- M../CAL. Computer Aided Learning Software (Results Calculation and Analysis):

This Computer Aided Learning Software (CAL) is a Windows based software, simple and very easy to use, specifically developed by EDIBON.

CAL is a class assistant that helps in doing the necessary calculations to extract the right conclusions from data obtained during the experimental practices.

With a single click, CAL computes the value of all the variables involved and performs the calculations.

Also, CAL allows  to plot and print the results.  Within the plotting options, any variable can be represented against any other.

Available different plotting displays.

It has a wide range of information, such as constant values, unit conversion factors and integral and derivative tables, etc.

- EDAS/VIS. EDIBON Data Acquisition System/Virtual Instrumentation System

This EDAS/VIS System includes DAIB + DAB + EDAS/VIS-SOF:

D- HARDWARE:

- DAIB. Data Acquisition Interface Box:

Metallic box. Dimensions: 310 x 220 x 145 mm. approx. (12.2 x 8.6 x 5.7 inches approx.).

Front panel:

16 Analog inputs (1 block with12 voltage channels and 1 block with 2 current channels (4 connections)).

Sampling velocity 1,250,000 samples per second for EDAS/VIS 1.25 Version.

Sampling velocity 250,000 samples per second for EDAS/VIS 0.25 Version.

2 Analog outputs.

24 Digital inputs/outputs, configurable as inputs or outputs, with 24 state led indicators. These digital inputs/outputs are grouped in three ports of eight channels (P0, P1 and P3).

4 Digital signal switches 0-5V. 2 Analog signal potentiometers 12V.

Main ON/OFF switch.

Inside: Internal power supply of 12 and 5 V. Potentiometer.

Back panel: Power supply connector. SCSI connector (for data acquisition board).

Connecting cables.

- DAB. Data Acquisition Board:

For EDAS/VIS 1.25 Version:

PCI Data acquisition board (National Instruments) to be placed in a computer slot.

Analog input:

Number of channels= 16 single-ended or  8 differential. Resolution=16 bits, 1 in 65536.

Sampling rate up to: 1,250,000 S/s (samples per second). Input range (V)= 10V.

Data transfers=DMA, interrupts, programmed I/0.Number of DMA channels=6.

Analog output:

Number channels=2. Resolution=16 bits, 1 in 65536. Max. output rate up to: 833KS/s.

Output range(V)= 10V. Data transfers=DMA, interrupts, programmed I/0.

Digital Input/Output: Numbers of channels=24 inputs/outputs. Port 0 up to 8 Mhz.

Timing: Counter/timers=2. Resolution: Counter/timers: 32 bits.

For EDAS/VIS 0.25 Version:

Sampling rate up to: 250,000 S/s (samples per second).

Analog output: Max. output rate up to:10 KS/s.

Digital Input/Output: Number of channels=24 inputs/outputs. Port 0 up to 1 Mhz.

Rest of characteristics are the same than EDAS/VIS 1.25 Version.

E- DATA ACQUISITION/VIRTUAL INSTRUMENTATION SOFTWARE:

- EDAS/VIS-SOF. Data Acquisition and Virtual Instrumentation Software:

Compatible with actual Windows operating systems. Amicable graphical frame.

Configurable software allowing the temporal/frequency representation of the different inputs and outputs. Visualization of a voltage of the circuits on the computer screen.

It allows data store in a file, print screens and reports of the signals at any time.

Measurement, analysis, visualization, representation and report of results.

Set of Virtual Instruments:

- Oscilloscope:

Channels: 12 simultaneous. Maximum input voltage: 10V.

All 12 input channels could be scaled to compare signal with different voltage levels.

“Math Menu” with operations as Addition, Subtraction, Multiplication and Division, between any of the 12 oscilloscope channels.

- Function Generator:

Two independent signal generators, for sinusoidal, triangular, saw tooth and square.

Channels: 2 (allowing working simultaneously). Maximum output voltage: 10V.

It includes a graph where an output signal for each channel is shown.

- Spectrum Analyzer:

Channels: 12 (simultaneous). Max. voltage: 10V. Spectrum analyzer: based on the FFT.

- Multimeter:

Voltmeter (Channels: 12 (simultaneous). Max. voltage: 10V RMS).

Ammeter (Channels: 2 (simultaneous). Max. Ampere: 500 mA rms per channel).

- Transient Analyzer.

- Logic Analyzer:

Number of Input channels: 8. TTL Voltage Level.

Clock Source: 3 different sources.

This instrument allows receiving as far as 8 digital signal simultaneously at 1 or 8 Mbps (depending the version).

- Logic Generator:

Number of transmission channels: 8. TTL voltage level.

This instrument allows generating up to 8 digital simultaneous signals of 1 or 8 Mbps (depending of the version).

Sampling velocity 1,250,000 samples per second for EDAS/VIS 1.25 Version.

Sampling velocity 250,000 samples per second for EDAS/VIS 0.25 Version.

Manuals: This system is supplied with the following manuals: Required Services, Assembly and Installation, Interface and Software, Starting-up, Safety, Maintenance & Practices Manual.

IMPORTANT:

Only one EDAS/VIS is needed for all electronic boards or modules. One EDAS/VIS is needed for each student work post.

The EDAS/VIS allows to work with several electronic boards or modules simultaneously.

F- MANUALS:

This unit will be supplied with the following manuals:

- Required services manual.

- Assembly and installation manual.

- Interface and control software manual (if it is necessary).

- Starting-up manual.

- Safety manual.

- Maintenance manual.

- Calibration manual (if it is necessary).

- Practices manual.

G- PRACTICES POSSIBILITIES:

This unit is designed to be able to do the following practices:

1.-	TDM (Time Division Multiplexing).

2.-	Analog Multiplication.

3.-	AM modulation/demodulation.

4.-	FM modulation/demodulation.

5.-	PWM modulation/demodulation.