# TENDER SPECIFICATIONS

Unit mounted on an anodized aluminum structure with painted steel panel.

Gyroscope, consists of:

Rotor disc, diameter: 80 mm.

Torque arm, length: 240 mm approximately.

Counterweight with retaining screws to preselect the gyroscopic moment.

Two motors:

Rotating motor, speed range: 0-4260 rpm.

Precession motor, speed range: 0-60 rpm.

Both motors are electronically regulated and independently controlled. They can rotate clockwise or anticlockwise.

A transparent protective cover, made of plastic, provides protection against the rotating parts and enables different experiments to be observed. This cover includes a subminiature switch, which allows automatically stops the two electrical motors if the cover is opened.

A bull’s eye level is provided to enable to level the unit.

Weights:

1 x 125 g., 1 x 100 g., 1 x 60 g., 1 x 50 g., 1 x 40 g., 1 x 30 g.

Electronic console (in separate metallic box):

Motors connections.

ON/OFF controller for the rotating motor. ON/OFF controller for the precession motor.

Rotating motor direction controller. Precession motor direction controller.

Rotating motor speed controller. Precession motor speed controller.

Digital display for the rotating motor speed. Digital display for the precession motor speed.

Cables and accessories, for normal operation.

Manuals:	This unit is supplied with the following manuals: Required services, Assembly and Installation, Starting-up, Security, Maintenance and Practices manual.

Dimensions: Unit: 600 x 600 x 540 mm. approx. (23.62 x 23.62 x 21.26 inches approx.).     Weight: 20 Kg. approx. (44 pounds approx.).

Electronic console: 300 x 190 x 130 mm. approx. (11.81 x 7.48 x 5.12 inches approx.).     Weight: 3 Kg. approx. (6.6 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

1.-	Study of the laws of gyroscopes.

2.-	Demonstration of the precession and stability of a gyroscope system.

3.-	Investigation of gyroscopic couple direction for each combination of the rotor and the precession directions.

4.-	Study of the magnitude of gyroscope couple in function of the rotor velocity and the precession velocity.

5.-	Determination of the moment of inertia of the gyroscope rotor.

6.-	Demonstration the independent influence of precession velocity with the gyroscope couple.

7.-	Demonstration the independent influence of rotor velocity with the gyroscope couple.

Optional:

## - MGI/CAI. Computer Aided Instruction Software System:

This complete software package consists of an Instructor Software (INS/SOF) totally integrated with the Student Software (MGI/SOF). Both are interconnected so that the teacher knows at any moment what is the theoretical and practical knowledge of the students.

INS/SOF. Classroom Management Software (Instructor Software):

The Instructor can:

- Organize Students by Classes and Groups.

- Create easily new entries or delete them.

- Create data bases with student information.

- Analyze results and make statistical comparisons.

- Generate and print reports.

- Detect student’s progress and difficulties.

...and many other facilities.

This software, working in network configuration, allows controlling all the students in the classroom.

MGI/SOF. Computer Aided Instruction Software (Student Software):

It explains how to use the unit, run the experiments and what to do at any moment.

- This software contains:

Theory: gives the student the theoretical background for a total understanding of the studied subject.

Exercises: divided by thematic areas and chapters to check out that the theory has been understood.

Guided Practices: presents several practices to be done with the unit, showing how to perform the exercises and practices.

Exams: set of questions to test the obtained knowledge.

- MGI/CAL. Computer Aided Learning Software (Results Calculation and Analysis):

This Computer Aided Learning Software (Results Calculation and Analysis) “CAL” is a Windows based software, simple and very easy to use, specifically developed by EDIBON.

CAL is a class assistant that helps in doing the necessary calculations to extract the right conclusions from data obtained during the experimental practices. With a single click, CAL computes the value of all the variables involved and performs the calculations.

Also, CAL allows to plot and print the results. Within the plotting options, any variable can be represented against any other.

Available different plotting displays.

It has a wide range of information, such as constant values, unit conversion factors and integral and derivative tables.