TENDER SPECIFICATIONS

Resistive, Capacitive and Inductive Loads Module (RCL3R) offers:

Single and Three-phase fixes resistances.

Single and Three-phase variable resistances.

Single and Three-phase inductances.

Single and Three-phase capacitors.

Metallic box.

Diagram in the front panel.

Variable resistive loads:	3 x [150  (500 W)].

Fixed resistive loads:	3 x [150  (500 W) + 150  (500 W)].

Inductive loads:	3 x [0, 33, 78, 140, 193, 236 mH]. (230V /2 A)

Capacitive loads:	3 x [4 x 7 F]. (400V)

Dimensions: 490 x 450 x 470 mm. approx.  Weight: 30 Kg. approx.