# The “UESLB” unit is laboratory-scale unit designed for studying the separation of a soluble fraction from a solid with the help of a solvent in a continuous multistage and countercurrent way.

# The unit utilises a continuous feed, counter current flow, multiple stage (but may also configured as one or two stage process for teaching purposes), rotary extractor system of the type frequently seen in industrial applications. The effects of temperature, multiple stages, and throughput rate can all be investigated.

# TENDER SPECIFICATIONS

Anodized aluminium structure and panels in painted steel. Main metallic elements in stainless steel.

Diagram in the front panel with similar distribution to the elements in the real unit.

Feed liquid vessel, capacity: 9 litres.

Product liquid vessel, capacity: 9 litres.

Feed hopper with feed endless screw for solids. Motor for feed endless screw.

Main rotary extraction vessel with 8 cells of extraction. Motor for the rotation of the main extraction vessel.

Variable rotation speed.

3 Sprinklers.

Solid products exit.

1 Conductivity meter, and 4 conductivity cells:

3 conductivity scales:

200 µS  	0.1 to 199.9 µS.

2 mS	0.2 to 1.999 mS.

20 mS 	 2 to 19.99 mS.

* mS: microSiemens;  mS: miliSiemens.

4 Temperature sensors, ”J“ type.

3 Heating resistances, range: 360 W each one.

3 Safety thermostats (70ºC).

3 Peristaltic pumps (12.7  l./h), with speed regulator.

3 Decanting filters (in-line strainer).

Circulation valves to change the circuit configuration.

Solvent temperatures: ambient to 50ºC.

This unit incorporates wheels for its mobility.

Electronic console:

Temperature sensors connections. Digital display for temperature sensors. Selector for temperature sensors.

3 Controllers for the 3 heating resistances.

Pumps speed controller.

Touch screen for controlling:

Number of revolutions of the feed motor. Number of cycles. Cycle time.

Cables and Accessories, for normal operation.

Manuals:

This unit is supplied with the following manuals: Required Services, Assembly and Installation, Starting-up, Safety, Maintenance & Practices Manuals.

Dimensions and Weights:

Unit: Dimensions:705 x 570 x 1680 mm. approx. (27.75 x 22.44 x 66.14 inches approx.).     Weight: 120 Kg. approx. (264.5 pounds approx.).

Electronic console: Dimensions:490 x 330 x 310 mm. approx. (19.29 x 12.99 x 12.20 inches approx.).     Weight: 10 Kg. approx. (22 pounds approx.).

EXERCISES AND PRACTICAL POSSIBILITIES

Some Practical Possibilities of the Unit:

1.-	Demonstration of the operation of a continuous multiple stage process.

2.-	Closed circuit percolation extraction (batch reaction).

3.-	Open loop percolation extraction (continuous operation).

4.-	Investigation of one, two and three stage continuous processes.

5.-	Investigation into effect of solvent temperatures.

6.-	Investigation into effect of solvent flow rates.

7.-	Investigation into effect of processing time.

8.-	Process economics. Process efficiency.

9.-	Mass balances.

10.-	Influence of the particle size.

11.-	Influence of the stages numbers.

12.-	Influence of the solvent type.

13.-	Extractions of inorganic and aqueous components.

14.-	Test of extractions for industrial use.